Specifications:

Item type:            Touch on/off switch

Product standard:       EU/UK

Control mode:          Single Live wire control

Input voltage:          100-240Vac 50/60Hz

Output Power:          5-300W/ gang  Led:5-150W/gang

Working mode:         Manual touch

touch life:              100000 times

Operating Environment:   -20~50 Centigrade,Less than 95%RH

Self Consuming Power:    Less than 0.5W

Indicator light:           On-red /off-blue

Panel material:         Tempered glass

Panel colors:           White/black/gold/grey

Shell material:          Plastic fireproof 94-V0

use place:             Home and residential use

Applicable lamps:       LED lights, energy-saving lamps, halogen lamps, incandescent lamps

Install capacitor:        Lamp power<5W

Size:                  86*86*35mm