## Arkusz1
产品图片 | 英文品名 | 中文品名 | 产品参数规格 | 不含税 人民币单价 | 不含税 总金额 | 每箱个数 | 总箱数 | 总数量 | 外箱体积(cm) | 方数 | 每箱 净重 | 总净重 | 每箱毛重 | 总毛重 | 退税率
| push-button switch | 按键开关 | 黑色1开单按键功能键Type: single Voltage: 110-230V AC Power consumption: 0.02W Frequency: 50/60 Hz Panel dimensions: 86x86x36(10) mm Load power: 3-300W / 3-150W for LED Relative humidity: 10%-93% (non-condensed) Durability: 100,000 cycles Sealing class: IP21 Net weight: 73 g Certificates: CE, ROHS No neutral wire required | 4.69 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.5 | 0 | 13%
| push-button switch | 按键开关 | 黑色2开单按键功能键Type: double Voltage: 110-230V AC Power consumption: 0.02W Frequency: 50/60 Hz Panel dimensions: 86x86x36(10) mm Load power: 3-300W / 3-150W for LED Relative humidity: 10%-93% (non-condensed) Durability: 100,000 cycles Sealing class: IP21 Net weight:85 g Certificates: CE, ROHS No neutral wire required | 5.99 | 0 | 100 |  |  | 0.036 | 0 | 10 | 0 | 10.3 | 0 | 13%
| push-button switch | 按键开关 | 黑色1开双按键功能键Type: double Voltage: 110-230V AC Power consumption: 0.02W Frequency: 50/60 Hz Panel dimensions: 86x86x36(10) mm Load power: 3-300W / 3-150W for LED Relative humidity: 10%-93% (non-condensed) Durability: 100,000 cycles Sealing class: IP21 Net weight: 80 g Certificates: CE, ROHS No neutral wire required | 5.21 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.6 | 0 | 13%
| push-button switch | 按键开关 | 白色1开单按键功能键Type: single Voltage: 230-250V AC Rated current: 16A Socket dimensions: 85x85x50mm Mounting: Ø 60mm box Load power: 3-300W / 3-150W for LED Relative humidity: 10%-93% (non-condensed) Durability: 100,000 cycles Sealing class: IP21 Net weight: 73 g Certificates: CE, ROHS No neutral wire required | 4.69 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.5 | 0 | 13%
| push-button switch | 按键开关 | 白色2开单按键功能键Type: double Voltage: 230-250V AC Rated current: 16A Socket dimensions: 85x85x50mm Mounting: Ø 60mm box Load power: 3-300W / 3-150W for LED Relative humidity: 10%-93% (non-condensed) Durability: 100,000 cycles Sealing class: IP21 Net weight: 85 g Certificates: CE, ROHS No neutral wire required | 5.99 | 0 | 100 |  |  | 0.036 | 0 | 10 | 0 | 10.3 | 0 | 13%
| push-button switch | 按键开关 | 白1开双按键功能键Surface finish: glossy Type: classic IP protection class: IP20/IP44 Connection type/terminal type: screw terminals Product type: single switch RAL (similar): RAL 9003 Backlight: optional, not included Rated voltage: 250 V Operating method/function: rocker key Product depth: 42 mm Mounting method [ETIM]: flush mounting Material type: plastic, PC, halogen-free Fluorescent lamp rated current: 10 AX Product name/type: single-pole switch Built-in depth: 26 mm Surface protection: natural Product height: 77 mm Connection system: 1-pole switch (bistable) Product width: 77 mm Mounting method: claws/screws | 5.21 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.6 | 0 | 13%
| push-button switch | 按键开关 | 双法插功能键 Socket (center): Full black cast Type: double Grounding: via pin Fits a 60mm box (additional space for mounting wings should be made at the box) Color: black Voltage: 110-250V /50 Hz-60 Hz Current: 16A Sealing class: IP21 Net weight: 80 g Product dimensions: 8.6x7.1x5.1cm | 6.69 | 0 | 100 |  |  | 0.036 | 0 | 11 | 0 | 11 | 0 | 13%
| push-button switch | 按键开关 | 法插功能键Full black cast Type: single Grounding: via pin Fits a 60mm box Color: black Voltage: 110-250V /50 Hz-60 Hz Current: 16A Protection class: IP20 Product dimensions: 8.6x8.6x4.3cm Sealing class: IP21 Net weight: 62 g | 5.99 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.95 | 0 | 13%
| push-button switch | 按键开关 | 白色双法插功能键Type: double Grounding: via pin Fits a 60mm box (additional space for mounting wings should be made at the box) Color: white Voltage: 110-250V /50 Hz-60 Hz Current: 16A Protection class: IP20 Product dimensions: 8.6x7.1x5.1cm Sealing class: IP21 Net weight: 80 g | 5.99 | 0 | 100 |  |  | 0.036 | 0 | 11 | 0 | 11.5 | 0 | 13%
| push-button switch | 按键开关 | 白色法插功能键Full white cast Type: single Grounding: via pin Fits a 60mm box Color: white Voltage: 110-250V /50 Hz-60 Hz Current: 16A Protection class: IP20 Product dimensions: 8.6x8.6x4.3cm Sealing class: IP21 Net weight: 81 g | 5.59 | 0 | 100 |  |  | 0.036 | 0 | 9 | 0 | 9.95 | 0 | 13%
| push-button switch | 按键开关 | 法插AC功能键Additionally, it has two USB ports, thanks to which you can charge your phone - any other USB device. Full black cast Fits a 60mm box Voltage: 110-250V /50 Hz-60 Hz Current intensity: 16A USB port: DC: 5V 1A; 2.1A Protection class: Sealing class: IP21 Net weight: 105 gProduct dimensions: 86x86x51mm | 20.33 | 0 | 100 |  |  | 0.036 | 0 | 12 | 0 | 12.4 | 0 | 13%
| push-button switch | 按键开关 | 法插USB功能键Full black cast Type: single Grounding: via pin Fits a 60mm box Color: black Voltage: 110-250V /50 Hz-60 Hz Current: 16A USB port: DC: 5V 1A; 2.1A Protection class: IP20 Product dimensions: 8.6x8.6x5.1cm Sealing class: IP21 Net weight:105 g | 20.33 | 0 | 100 |  |  | 0.036 | 0 | 12 | 0 | 12.4 | 0 | 13%
| push-button switch | 按键开关 | 白色法插AC功能键Additionally, it has two USB ports, thanks to which you can charge your phone - any other USB device. Full white cast Fits a 60mm box Voltage: 110-250V /50 Hz-60 Hz Current intensity: 16A USB port: DC: 5V 1A; 2.1A Sealing class: IP21 Net weight: 105 g Product dimensions: 86x86x51mm | 20.33 | 0 | 100 |  |  | 0.036 | 0 | 11 | 0 | 11.5 | 0 | 13%
| glass panel | 玻璃面板 | Tempered Glass Panel dimensions: 86x86x8 mm Certificates: CE, ROHS Net weight: 45 g | 6.88 | 0 | 300 |  |  | 0.04 | 0 | 15 | 0 | 15.7 | 0 | 13%
| glass panel | 玻璃面板 | Tempered Glass Panel dimensions: 156x86x8 mm Certificates: CE, ROHS Net weight: 75 g | 13.77 | 0 | 200 |  |  | 0.04 | 0 | 17 | 0 | 17.8 | 0 | 13%
| glass panel | 玻璃面板 | Tempered Glass Panel dimensions: 86x86x8 mm Certificates: CE, ROHS Net weight: 45 g | 6.88 | 0 | 300 |  |  | 0.04 | 0 | 15 | 0 | 15.7 | 0 | 13%
| glass panel | 玻璃面板 | Tempered Glass Panel dimensions: 156x86x8 mm Certificates: CE, ROHS Net weight: 75 g | 13.77 | 0 | 200 |  |  | 0.04 | 0 | 17 | 0 | 17.8 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 86x86x8 mm Certificates: CE, ROHS Net weight:20 g | 1.63 | 0 | 300 |  |  | 0.04 | 0 | 8 | 0 | 8.2 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 156x86x8 mm Certificates: CE, ROHS Net weight: 40 g | 3.25 | 0 | 200 |  |  | 0.04 | 0 | 9 | 0 | 9.2 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 230x86x8 mm Certificates: CE, ROHS Net weight: 52 g | 4.88 | 0 | 200 |  |  | 0.05 | 0 | 12 | 0 | 12.53 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 300x86x8 mm Certificates: CE, ROHS Net weight: 66 g | 8.45 | 0 | 200 |  |  | 0.061 | 0 | 15 | 0 | 15.2 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 86x86x8 mm Certificates: CE, ROHS Net weight: 20 g | 1.23 | 0 | 300 |  |  | 0.04 | 0 | 8 | 0 | 8.2 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 156x86x8 mm Certificates: CE, ROHS Net weight: 40 g | 2.38 | 0 | 200 |  |  | 0.04 | 0 | 9 | 0 | 9.2 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 230x86x8 mm Certificates: CE, ROHS Net weight: 52 g | 3.38 | 0 | 200 |  |  | 0.05 | 0 | 12 | 0 | 12.53 | 0 | 13%
| PC panel | PC面板 | Fireproof Plastic Panel Panel dimensions: 300x86x8 mm Certificates: CE, ROHS Net weight: 66 g | 6.43 | 0 | 200 |  |  | 0.061 | 0 | 15 | 0 | 15.2 | 0 | 13%
[5 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  | 0